## Front Cover
Net Zero Carbon
Gloucestershire
Cost detail for net zero specifications
2026-09-09

## Cost Summary All Resi
[22 empty] | Part L 2021 | Gloucestershire | 93%
| Consolidated cost analyses | [20 empty] | FHS Part L 2026
| Base cost year | Q2 2026 | select dropdown to change year | select dropdown to change year
| Location factor adjust | 93% |  |  |  |  | Gloucestershire
Oncost uplift for projects delivered by contractors
| Baseline | Part L 2021
Housing
|  | Detached house |  |  |  | Semi-detached house |  |  |  | Bungalow |  |  |  | Mid-rise block of flats |  |  |  | Low-rise block of flats
|  | Level 1b (SHD 15-20) | Part L 2021 | FHS Part L 2026 | Level 2 (SHD 20/ EUI 35) | Level 1b (SHD 15-20) | Part L 2021 | FHS Part L 2026 | Level 2 (SHD 20/ EUI 35) | Level 1a (SHD 30) | Part L 2021 | FHS Part L 2026 | Level 2 (SHD 20/ EUI 35) | Level 1b (SHD 15-20) | Part L 2021 | FHS Part L 2026 | Level 2 (SHD 20/ EUI 35) | Level 1b (SHD 15-20) | Part L 2021 | FHS Part L 2026 | Level 2 (SHD 20/ EUI 35)
| GIA | 142 | 142 | 142 | 142 | 93 | 93 | 93 | 93 | 54.5 | 54.5 | 54.5 | 54.5 | 3201.6 | 3201.6 | 3201.6 | 3201.6 | 649 | 649 | 649 | 649
| Units | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 7 | 7 | 7 | 7
Base cost
| Fabric & Ventilation | 59.5598 | 0 | 0.5485 | 98.1118 | 52.7504 | 0 | 0.5485 | 79.5372 | 71.7872 | 0 | 0.5485 | 92.2649 | 40.453 | 0 | 0.23981 | 81.4729 | 69.1352 | 0 | -1.827 | 85.8443
| Heating systems | 35.0419 | 0 | 38.1518 | 35.0419 | 53.5048 | 0 | 53.5048 | 53.5048 | 90.4197 | 0 | 90.4197 | 90.4197 | 15.6945 | 0 | 24.9634 | 15.6945 | 51.0024 | 0 | 51.0024 | 51.0024
| Renewables (PVs) | 7.3697 | 0 | 7.3697 | 9.3888 | 7.7073 | 0 | 7.7073 | 9.2487 | 23.6733 | 0 | 23.6733 | 14.448 | 3.1791 | 0 | 3.1791 | 3.1791 | 12.2592 | 0 | 4.5282 | 3.6722
| Oncosts Y/N | N | N | N | N | N | N | N | N |  |  |  |  | N | N | N | N | N | N | N | N
With location uplift and prelims
| Fabric & Ventilation | 55.3906 | 0 | 0.51011 | 91.244 | 49.0578 | 0 | 0.51011 | 73.9696 | 66.7621 | 0 | 0.51011 | 85.8063 | 37.6212 | 0 | 0.22302 | 75.7698 | 64.2958 | 0 | -1.6991 | 79.8352
| Heating systems | 32.589 | 0 | 35.4811 | 32.589 | 49.7595 | 0 | 49.7595 | 49.7595 | 84.0903 | 0 | 84.0903 | 84.0903 | 14.5959 | 0 | 23.216 | 14.5959 | 47.4322 | 0 | 47.4322 | 47.4322
| Renewables (PVs) | 6.8538 | 0 | 6.8538 | 8.7315 | 7.1678 | 0 | 7.1678 | 8.6013 | 22.0162 | 0 | 22.0162 | 13.4366 | 2.9566 | 0 | 2.9566 | 2.9566 | 11.401 | 0 | 4.2112 | 3.4152 |  |  |  | Cost Uplift per m2 GIA | Level 1b (SHD 15-20) | FHS Part L 2026 | Level 1b (SHD 15-20) | FHS Part L 2026 | Level 1b (SHD 15-20) | FHS Part L 2026
| Total uplift (£/m²) | 94.8334 | 0 | 42.845 | 132.5645 | 105.9851 | 0 | 57.4374 | 132.3304 | 172.8686 | 0 | 106.6166 | 183.3333 | 55.1737 | 0 | 26.3956 | 93.3222 | 123.1291 | 0 | 49.9443 | 130.6826 |  |  |  | MEP | 32.589 | 35.4811 | 49.7595 | 49.7595 | 47.4322 | 47.4322
| Total uplift (£ per building) | 13466.3384 | 0 | 6083.9943 | 18824.1552 | 9856.6133 | 0 | 5341.6742 | 12306.7236 | 9421.3381 | 0 | 5810.605 | 9991.6626 | 176644.0732 | 0 | 84508.145 | 298780.3281 | 79910.7601 | 0 | 32413.8745 | 84813.0157 |  |  |  | Solar | 6.8538 | 6.8538 | 7.1678 | 7.1678 | 11.401 | 4.2112
| Total uplift (£ per unit) | 13466.3384 | 0 | 6083.9943 | 18824.1552 | 9856.6133 | 0 | 5341.6742 | 12306.7236 | 9421.3381 | 0 | 5810.605 | 9991.6626 | 176644.0732 | 0 | 84508.145 | 298780.3281 | 11415.8229 | 0 | 4630.5535 | 12116.1451 |  |  |  | Total (£/m²)* | 94.8334 | 42.845 | 105.9851 | 57.4374 | 123.1291 | 49.9443
| Base build costs (notional) (£/m²) | 1552.17 | 1552.17 | 1552.17 | 1552.17 | 1552.17 | 1552.17 | 1552.17 | 1552.17 | 1552.17 | 1552.17 | 1552.17 | 1552.17 | 1789.32 | 1789.32 | 1789.32 | 1789.32 | 1789.32 | 1789.32 | 1789.32 | 1789.32 |  |  |  | Total per home | 13466.3384 | 6083.9943 | 9856.6133 | 5341.6742 | 11415.8229 | 4630.5535
| Percentage uplift | 6.11% | 0% | 2.76% | 8.541% | 6.828% | 0% | 3.7% | 8.526% | 11.14% | 0% | 6.869% | 11.81% | 3.084% | 0% | 1.475% | 5.216% | 6.881% | 0% | 2.791% | 7.303% | [10 empty] | * totals do not sum exactly due to rounding
|  | 1647.0034 | 1552.17 | 1595.015 | 1684.7345 | 1658.1551 | 1552.17 | 1609.6074 | 1684.5004 | 1725.0386 | 1552.17 | 1658.7866 | 1735.5033 | 1844.4937 | 1789.32 | 1815.7156 | 1882.6422 | 1912.4491 | 1789.32 | 1839.2643 | 1920.0026
Summary of total build costs and increment for carbon policy relative to Part L 2021
Additional build cost increment for carbon policy split by cost category relative to Part L 2021

## Bungalow
Bungalow
| Units | 1
FABRIC, VENTILATION AND PV
| Element | Quantity |  | Specification | [6 empty] | Cost per unit | [5 empty] | Cost per building | [5 empty] | Cost Δ per building | [7 empty] | Cost Δ per building vs BAU 2025
|  | Quantity | Unit | Building Regulations Part L | Future Homes Standard | Level 1a (SHD 30) | 100% TER + 10% TFEE | 100% TER + 10% TFEE + Unregulated | Level 2 (SHD 20/ EUI 35) |  | Building Regulations Part L | Future Homes Standard | Level 1a (SHD 30) | 100% TER + 10% TFEE | 100% TER + 10% TFEE + Unregulated | Level 2 (SHD 20/ EUI 35) | Building Regulations Part L | Future Homes Standard | Level 1a (SHD 30) | 100% TER + 10% TFEE | 100% TER + 10% TFEE + Unregulated | Level 2 (SHD 20/ EUI 35) | Building Regulations Part L | Future Homes Standard | Level 1a (SHD 30) | 100% TER + 10% TFEE | 100% TER + 10% TFEE + Unregulated | Level 2 (SHD 20/ EUI 35) | Building Regulations Part L | Future Homes Standard | Level 1a (SHD 30) | 100% TER + 10% TFEE | 100% TER + 10% TFEE + Unregulated | Level 2 (SHD 20/ EUI 35)
Floor | Floor | 54.5 | m2 | Grd Floor [u-Value=0.13 W/m².K] | Grd Floor [u-Value=0.13 W/m².K] | Grd Floor [u-Value=0.13 W/m².K] | Grd Floor [u-Value=0.12 W/m².K] | Grd Floor [u-Value=0.12 W/m².K] | Grd Floor [u-Value=0.09 W/m².K] |  | 188.784 | 188.784 | 188.784 | 193.2 | 193.2 | 223.107 | 10288.728 | 10288.728 | 10288.728 | 10529.4 | 10529.4 | 12159.3297 | 0 | 0 | 0 | 240.672 | 240.672 | 1870.6017 | 0 | 0 | 0 | 240.672 | 240.672 | 1870.6017
ExternalWall | ExternalWall | 69 | m2 | Ex Wall - Trad+MW [u-Value=0.18 W/m².K] | Ex Wall - Trad+MW [u-Value=0.18 W/m².K] | Ex Wall - Trad+MW [u-Value=0.15 W/m².K] | Ex Wall - Trad+MW [u-Value=0.12 W/m².K] | Ex Wall - Trad+MW [u-Value=0.12 W/m².K] | Ex Wall - Trad+MW [u-Value=0.18 W/m².K] |  | 272.5997 | 272.5997 | 279.2767 | 285.8271 | 285.8271 | 272.5997 | 18809.3779 | 18809.3779 | 19270.0904 | 19722.0677 | 19722.0677 | 18809.3779 | 0 | 0 | 460.7124 | 912.6898 | 912.6898 | 0 | 0 | 0 | 460.7124 | 912.6898 | 912.6898 | 0
ExternalWall | Dormer wall |  | m2 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ExternalWall | Bay wall |  | m2 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 46272 | 0 | 0 | 0 | 0 | 0 | 46272 | 0 | 0 | 0 | 0 | 0 | 46272 | 0 | 0
ExternalWall | Party Wall | 31 | m2 | Party Wall (generic) | Party Wall (generic) | Party Wall (generic) |  |  | Party Wall (generic) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Roof | Roof | 54.5 | m2 | Roof - Ins at Joists [u-Value=0.11 W/m².K] | Roof - Ins at Joists [u-Value=0.11 W/m².K] | Roof - Ins at Joists [u-Value=0.09 W/m².K] | Roof - Ins at Joists [u-Value=0.1 W/m².K] | Roof - Ins at Joists [u-Value=0.1 W/m².K] | Roof - Ins at Joists [u-Value=0.1 W/m².K] |  | 230.736 | 230.736 | 235.0238 | 234.048 | 234.048 | 234.048 | 12575.112 | 12575.112 | 12808.7989 | 12755.616 | 12755.616 | 12755.616 | 0 | 0 | 233.6869 | 180.504 | 180.504 | 180.504 | 0 | 0 | 233.6869 | 180.504 | 180.504 | 180.504
Roof | Sloping roof |  | m2 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Dormer roof |  | m2 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Window | Window | 9.7 | m2 | Windows [u-Value=1.2 W/m².K] | Windows [u-Value=1.2 W/m².K] | Windows [u-Value=0.8 W/m².K] | Windows [u-Value=1.2 W/m².K] | Windows [u-Value=1.2 W/m².K] | Windows [u-Value=0.8 W/m².K] |  | 430.56 | 430.56 | 516.672 | 430.56 | 430.56 | 516.672 | 4176.432 | 4176.432 | 5011.7184 | 4176.432 | 4176.432 | 5011.7184 | 0 | 0 | 835.2864 | 0 | 0 | 835.2864 | 0 | 0 | 835.2864 | 0 | 0 | 835.2864
Door | Doors | 2.1 | m2 | Doors [u-Value=1 W/m².K] | Doors [u-Value=1 W/m².K] | Doors [u-Value=1 W/m².K] | Doors [u-Value=1 W/m².K] | Doors [u-Value=1 W/m².K] | Doors [u-Value=1 W/m².K] |  | 408.48 | 408.48 | 408.48 | 408.48 | 408.48 | 408.48 | 857.808 | 857.808 | 857.808 | 857.808 | 857.808 | 857.808 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Rooflights |  | m2 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Thermalbridging | Themal bridging | 1 | Nr | Standard | Standard | Enhanced (detached) [y value improved by=c.0.06W/m3 K] | Enhanced (semi) [y value improved by=c.0.03W/m3 K] | Enhanced (semi) [y value improved by=c.0.03W/m3 K] | Enhanced (detached) [y value improved by=c.0.06W/m3 K] |  | 0 | 0 | 627.072 | 205.344 | 205.344 | 627.072 | 0 | 0 | 627.072 | 205.344 | 205.344 | 627.072 | 0 | 0 | 627.072 | 205.344 | 205.344 | 627.072 | 0 | 0 | 627.072 | 205.344 | 205.344 | 627.072
Ventilation | Ventilation unit | 1 | Nr | Intermittent extract fans with trickle vents [Semi / terrace=4 Fans per home] | Intermittent extract fans with trickle vents [Semi / terrace=4 Fans per home] | Good Qual MVHR [Unit=1Per home] | Intermittent extract fans with trickle vents [Semi / terrace=4 Fans per home] | Intermittent extract fans with trickle vents [Semi / terrace=4 Fans per home] | Good Qual MVHR [Unit=1Per home] |  | 1324.8 | 1324.8 | 1360.128 | 1324.8 | 1324.8 | 1360.128 | 1324.8 | 1324.8 | 1360.128 | 1324.8 | 1324.8 | 1360.128 | 0 | 0 | 35.328 | 0 | 0 | 35.328 | 0 | 0 | 35.328 | 0 | 0 | 35.328
Ventduct | Ventilation duct | 54.5 | m2 | none | none | MVHR rigid ductwork - semi + mid | none | none | MVHR rigid ductwork - detached |  | 0 | 0 | 20.976 | 0 | 0 | 16.56 | 0 | 0 | 1143.192 | 0 | 0 | 902.52 | 0 | 0 | 1143.192 | 0 | 0 | 902.52 | 0 | 0 | 1143.192 | 0 | 0 | 902.52
Airtightness | Airtightness | 54.5 | m2 | Airtightness level 1 [Air permeability rate=5m³/h·m² at 50 Pa ] | Airtightness level 2a - Houses [Air permeability rate=4m³/h·m² at 50 Pa ] | Airtightness level 3 - Houses [Air permeability rate=1m³/h·m² at 50 Pa ] | Airtightness level 2 [Air permeability rate=3m³/h·m² at 50 Pa ] | Airtightness level 2 [Air permeability rate=3m³/h·m² at 50 Pa ] | Airtightness level 3 - Houses [Air permeability rate=1m³/h·m² at 50 Pa ] |  | 0 | 0.5485 | 10.5894 | 0 | 0 | 10.5894 | 0 | 29.8934 | 577.1243 | 0 | 0 | 577.1243 | 0 | 29.8934 | 577.1243 | 0 | 0 | 577.1243 | -29.8934 | 0 | 547.2309 | -29.8934 | -29.8934 | 547.2309
| EE Lighting |  | Nr | [7 empty] | #N/A | #N/A | 0 | 0 | 0 | #N/A |  |  |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV | Photovoltaic array fixed | 1 | Nr | Roof mounted PV - fixed [Installations =1Number] | Roof mounted PV - fixed [Installations =1Number] | Roof mounted PV - fixed [Installations =1Number] | Roof mounted PV - fixed [Installations =1Number] | Roof mounted PV - fixed [Installations =1Number] | Roof mounted PV - fixed [Installations =1Number] |  | 1329.5373 | 1329.5373 | 1329.5373 | 1329.5373 | 1329.5373 | 1329.5373 | 1329.5373 | 1329.5373 | 1329.5373 | 1329.5373 | 1329.5373 | 1329.5373 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV | Photovoltaic array variable Part L 2021 | 3 | kWp | Roof mounted PV - variable [Output=1kWp] | [6 empty] | 716.7761 | 0 | 0 | 0 | 0 | 0 | 2150.3284 | 0 | 0 | 0 | 0 | 0 | 0 | -2150.3284 | -2150.3284 | -2150.3284 | -2150.3284 | -2150.3284 | 2150.3284 | 0 | 0 | 0 | 0 | 0
PV | Photovoltaic array variable FHS Part L 2026 | 4.8 | kWp |  | Roof mounted PV - variable [Output=1kWp] | [5 empty] | 0 | 716.7761 | 0 | 0 | 0 | 0 | 0 | 3440.5254 | 0 | 0 | 0 | 0 | 0 | 3440.5254 | 0 | 0 | 0 | 0 | -3440.5254 | 0 | -3440.5254 | -3440.5254 | -3440.5254 | -3440.5254
PV | Photovoltaic array variable Level 1b (SHD 15-20) | 4.8 | kWp |  |  | Roof mounted PV - variable [Output=1kWp] |  |  |  |  | 0 | 0 | 716.7761 | 0 | 0 | 0 | 0 | 0 | 3440.5254 | 0 | 0 | 0 | 0 | 0 | 3440.5254 | 0 | 0 | 0 | 0 | 0 | 3440.5254 | 0 | 0 | 0
PV | Photovoltaic array variable 100% TER + 10% TFEE |  | kWp |  |  |  | Roof mounted PV - variable [Output=1kWp] |  |  |  | 0 | 0 | 0 | 716.7761 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV | Photovoltaic array variable 100% TER + 10% TFEE + Unregulated |  | kWp |  |  |  |  | Roof mounted PV - variable [Output=1kWp] |  |  | 0 | 0 | 0 | 0 | 716.7761 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV | Photovoltaic array variable Level 2 (SHD 20/ EUI 35) | 4.2 | kWp | [5 empty] | Roof mounted PV - variable [Output=1kWp] |  | 0 | 0 | 0 | 0 | 0 | 699.4627 | 0 | 0 | 0 | 0 | 0 | 2937.7433 | 0 | 0 | 0 | 0 | 0 | 2937.7433 | 0 | 0 | 0 | 0 | 0 | 2937.7433
| Total | [15 empty] | 51512.1236 | 52832.214 | 56714.7226 | 97173.005 | 50901.005 | 57327.9749
| Uplift | [15 empty] | 0 | 1320.0904 | 5202.599 | 45660.8815 | -611.1185 | 5815.8513 | 0 | 1320.0904 | 5202.599 | 45660.8815 | -611.1185 | 5815.8513 | -1320.0904 | 0 | 3882.5086 | 44340.791 | -1931.209 | 4495.7609
HEATING SYSTEM TYPE
| Element | Quantity |  | Specification | [6 empty] | Cost per unit | [5 empty] | Cost per building | [5 empty] | Cost Δ per building | [7 empty] | Cost Δ per building vs BAU 2021
|  | Quantity | Unit | Gas boiler | Future Homes Standard | Level 1a (SHD 30) | 100% TER + 10% TFEE | 100% TER + 10% TFEE + Unregulated | Level 2 (SHD 20/ EUI 35) |  | Gas boiler | Future Homes Standard | Level 1a (SHD 30) | 100% TER + 10% TFEE | 100% TER + 10% TFEE + Unregulated | Level 2 (SHD 20/ EUI 35) | Gas boiler | Future Homes Standard | Level 1a (SHD 30) | 100% TER + 10% TFEE | 100% TER + 10% TFEE + Unregulated | Level 2 (SHD 20/ EUI 35) | Gas boiler | Future Homes Standard | Level 1a (SHD 30) | 100% TER + 10% TFEE | 100% TER + 10% TFEE + Unregulated | Level 2 (SHD 20/ EUI 35) | Gas boiler | Future Homes Standard | Level 1a (SHD 30) | 100% TER + 10% TFEE | 100% TER + 10% TFEE + Unregulated | Level 2 (SHD 20/ EUI 35)
Heatingsource | Heating source | 1 | Nr | Condensing gas boiler - combi [kW output=24kW] | Air Source Heat Pump - higher eff (incl cylinder) [kW output=5kW] | Air Source Heat Pump - higher eff (incl cylinder) [kW output=5kW] | Air Source Heat Pump - higher eff (incl cylinder) [kW output=5kW] | Air Source Heat Pump - higher eff (incl cylinder) [kW output=5kW] | Air Source Heat Pump - higher eff (incl cylinder) [kW output=5kW] |  | 1640 | 6953.6 | 6953.6 | 6953.6 | 6953.6 | 6953.6 | 1640 | 6953.6 | 6953.6 | 6953.6 | 6953.6 | 6953.6 | 0 | 5313.6 | 5313.6 | 5313.6 | 5313.6 | 5313.6 | -5313.6 | 0 | 0 | 0 | 0 | 0
Heatdistribution | Heating distribution system | 54.5 | m2 | Low temperature radiators [Per =1m2 GIFA] | Low temperature radiators [Per =1m2 GIFA] | Low temperature radiators [Per =1m2 GIFA] | Low temperature radiators [Per =1m2 GIFA] | Low temperature radiators [Per =1m2 GIFA] | Low temperature radiators [Per =1m2 GIFA] |  | 32.8 | 32.8 | 32.8 | 32.8 | 32.8 | 32.8 | 1787.6 | 1787.6 | 1787.6 | 1787.6 | 1787.6 | 1787.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hwstore | Hotwater system | 1 | Nr | none | None | None | None | None | None |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WWHR | WWHR ground floor (tray) | 1 | Nr | WWHR - pipe system [Showersave=QB1-21C] | None | None | None | None | None |  | 489.8133 | 0 | 0 | 0 | 0 | 0 | 489.8133 | 0 | 0 | 0 | 0 | 0 | 0 | -489.8133 | -489.8133 | -489.8133 | -489.8133 | -489.8133 | 489.8133 | 0 | 0 | 0 | 0 | 0
WWHR | WWHR upper floor (pipe) | 1 | Nr | None | None | None | None | None | None |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GasSupply | Gas supply |  | Nr | None | None | None | None | None | None |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PowerSupply | Power supply | 1 | Nr | None | Enhanced electrical supply - ASHP [kVa uplift=kVa] | Enhanced electrical supply - ASHP [kVa uplift=kVa] | Enhanced electrical supply - ASHP [kVa uplift=kVa] | Enhanced electrical supply - ASHP [kVa uplift=kVa] | Enhanced electrical supply - ASHP [kVa uplift=kVa] |  | 0 | 104.0853 | 104.0853 | 104.0853 | 104.0853 | 104.0853 | 0 | 104.0853 | 104.0853 | 104.0853 | 104.0853 | 104.0853 | 0 | 104.0853 | 104.0853 | 104.0853 | 104.0853 | 104.0853 | -104.0853 | 0 | 0 | 0 | 0 | 0
| Total | [15 empty] | 3917.4133 | 8845.2853 | 8845.2853 | 8845.2853 | 8845.2853 | 8845.2853 | 0 | 4927.872 | 4927.872 | 4927.872 | 4927.872 | 4927.872
| Uplift | [16 empty] | 4927.872 | 4927.872 | 4927.872 | 4927.872 | 4927.872 | 0 | 4927.872 | 4927.872 | 4927.872 | 4927.872 | 4927.872 | -4927.872 | 0 | 0 | 0 | 0 | 0
Raw cost
[10 empty] | Building Regulations Part L | Future Homes Standard | Level 1a (SHD 30)
[10 empty] | 51512.1236 | 52832.214 | 56714.7226
|  |  |  | Gas boiler | 3917.4133 |  |  |  |  | 55429.5369 | 56749.6273 | 60632.136
|  |  |  | Future Homes Standard | 8845.2853 |  |  |  |  | 60357.4089 | 61677.4993 | 65560.008
|  |  |  | Level 1a (SHD 30) | 8845.2853 |  |  |  |  | 60357.4089 | 61677.4993 | 65560.008
London uplift to base costs
|  |  |  | #REF! | #REF!
[10 empty] | Building Regulations Part L | Future Homes Standard | Level 1a (SHD 30)
[10 empty] | #REF! | #REF! | #REF!
|  |  |  | Gas boiler | #REF! |  |  |  |  | #REF! | #REF! | #REF!
|  |  |  | Future Homes Standard | #REF! |  |  |  |  | #REF! | #REF! | #REF!
|  |  |  | Level 1a (SHD 30) | #REF! |  |  |  |  | #REF! | #REF! | #REF!
Add OHP, prelims, contingency
Prelims
OHP
contingency
[10 empty] | Building Regulations Part L | Future Homes Standard | Level 1a (SHD 30)
[10 empty] | #REF! | #REF! | #REF!
|  |  |  | Gas boiler | #REF! |  |  |  |  | #REF! | #REF! | #REF!
|  |  |  | Future Homes Standard | #REF! |  |  |  |  | #REF! | #REF! | #REF!
|  | Notional | #REF! | Level 1a (SHD 30) | #REF! |  |  |  |  | #REF! | #REF! | #REF!
Cost variance per project
[10 empty] | Building Regulations Part L | Future Homes Standard | Level 1a (SHD 30)
|  |  |  | Gas boiler | [5 empty] | #REF! | #REF! | #REF!
|  |  |  | Future Homes Standard | [5 empty] | #REF! | #REF! | #REF!
|  |  |  | Level 1a (SHD 30) | [5 empty] | #REF! | #REF! | #REF!
Cost variance per building / home
[10 empty] | Building Regulations Part L | Future Homes Standard | Level 1a (SHD 30)
|  |  |  | Gas boiler | [5 empty] | #REF! | #REF! | #REF!
|  |  |  | Future Homes Standard | [5 empty] | #REF! | #REF! | #REF!
|  |  |  | Level 1a (SHD 30) | [5 empty] | #REF! | #REF! | #REF!

## Detached
Detached house
| Units | 1
FABRIC, VENTILATION AND PV
| Element | Quantity |  | Specification | [6 empty] | Cost per unit | [5 empty] | Cost per building | [5 empty] | Cost Δ per building vs BAU 2021 | [5 empty] | Cost Δ per building vs BAU 2025
|  | Quantity | Unit | Part L 2021 | FHS Part L 2026 | Level 1b (SHD 15-20) | 100% TER + 10% TFEE | 100% TER + 10% TFEE + Unregulated | Level 2 (SHD 20/ EUI 35) |  | Part L 2021 | FHS Part L 2026 | Level 1b (SHD 15-20) | 100% TER + 10% TFEE | 100% TER + 10% TFEE + Unregulated | Level 2 (SHD 20/ EUI 35) | Part L 2021 | FHS Part L 2026 | Level 1b (SHD 15-20) | 100% TER + 10% TFEE | 100% TER + 10% TFEE + Unregulated | Level 2 (SHD 20/ EUI 35) | Part L 2021 | FHS Part L 2026 | Level 1b (SHD 15-20) | 100% TER + 10% TFEE | 100% TER + 10% TFEE + Unregulated | Level 2 (SHD 20/ EUI 35) | Part L 2021 | FHS Part L 2026 | Level 1b (SHD 15-20) | 100% TER + 10% TFEE | 100% TER + 10% TFEE + Unregulated | Level 2 (SHD 20/ EUI 35) |  | BAU 2021 | FHS Option 1 | 100% TER | 100% TER + 10% TFEE | 100% TER + 10% TFEE + Unregulated | SHD/EUI/PV Net Zero |  | BAU 2021 | FHS Option 1 | 100% TER | 100% TER + 10% TFEE | 100% TER + 10% TFEE + Unregulated | SHD/EUI/PV Net Zero
Floor | Floor | 71 | m2 | Grd Floor [u-Value=0.13 W/m².K] | Grd Floor [u-Value=0.13 W/m².K] | Grd Floor [u-Value=0.13 W/m².K] | Grd Floor [u-Value=0.12 W/m².K] | Grd Floor [u-Value=0.12 W/m².K] | Grd Floor [u-Value=0.09 W/m².K] |  | 188.784 | 188.784 | 188.784 | 193.2 | 193.2 | 223.107 | 13403.664 | 13403.664 | 13403.664 | 13717.2 | 13717.2 | 15840.5946 | 0 | 0 | 0 | 313.536 | 313.536 | 2436.9306 | 0 | 0 | 0 | 313.536 | 313.536 | 2436.9306 | Photovoltaic array fixed | 1297.4229 | 1297.4229 | 1297.4229 | 1297.4229 | 1297.4229 | 1297.4229 | Photovoltaic array fixed | 0 | 0 | 0 | 0 | 0 | 0
Externalwall | External walls | 198 | m2 | Ex Wall - Trad+MW [u-Value=0.18 W/m².K] | Ex Wall - Trad+MW [u-Value=0.18 W/m².K] | Ex Wall - Trad+MW [u-Value=0.14 W/m².K] | Ex Wall - Trad+MW [u-Value=0.12 W/m².K] | Ex Wall - Trad+MW [u-Value=0.12 W/m².K] | Ex Wall - Trad+MW [u-Value=0.1 W/m².K] |  | 272.5997 | 272.5997 | 278.407 | 285.8271 | 285.8271 | 292.56 | 53974.7366 | 53974.7366 | 55124.5797 | 56593.7596 | 56593.7596 | 57926.88 | 0 | 0 | 1149.8431 | 2619.0229 | 2619.0229 | 3952.1434 | 0 | 0 | 1149.8431 | 2619.0229 | 2619.0229 | 3952.1434 | Photovoltaic array variable BAU | 2448.1194 | 3567.2597 | 3567.2597 | 3287.4746 | 4826.2925 | 3217.5284 | Photovoltaic array variable BAU | 0 | 1046.4931 | 1046.4931 | -100.3487 | 1476.5588 | 1333.2036
| Dormer wall | 0 | m2 | [25 empty] | 0 | 0 | 0 | 0 | 0 | 0 | Battery Storage | [5 empty] | 3500 | Battery Storage | [5 empty] | 3500
| Bay wall | 0 | m2 | [16 empty] | 46272 | [8 empty] | 0 | 0 | 0 | 46272 | 0 | 0
| Party Wall | 0 | m2 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Roof | Roof | 71 | m2 | Roof - Ins at Joists [u-Value=0.11 W/m².K] | Roof - Ins at Joists [u-Value=0.11 W/m².K] | Roof - Ins at Joists [u-Value=0.11 W/m².K] | Roof - Ins at Joists [u-Value=0.1 W/m².K] | Roof - Ins at Joists [u-Value=0.1 W/m².K] | Roof - Ins at Joists [u-Value=0.1 W/m².K] |  | 230.736 | 230.736 | 230.736 | 234.048 | 234.048 | 234.048 | 16382.256 | 16382.256 | 16382.256 | 16617.408 | 16617.408 | 16617.408 | 0 | 0 | 0 | 235.152 | 235.152 | 235.152 | 0 | 0 | 0 | 235.152 | 235.152 | 235.152
Roof | Sloping roof | 0 | m2 | [25 empty] | 0 | 0 | 0 | 0 | 0 | 0
| Dormer roof | 0 | m2 | [25 empty] | 0 | 0 | 0 | 0 | 0 | 0
Window | Window and glazed doors | 32.4 | m2 | Windows [u-Value=1.2 W/m².K] | Windows [u-Value=1.2 W/m².K] | Windows [u-Value=0.8 W/m².K] | Windows [u-Value=1.2 W/m².K] | Windows [u-Value=1.2 W/m².K] | Windows [u-Value=0.8 W/m².K] |  | 430.56 | 430.56 | 516.672 | 430.56 | 430.56 | 516.672 | 13950.144 | 13950.144 | 16740.1728 | 13950.144 | 13950.144 | 16740.1728 | 0 | 0 | 2790.0288 | 0 | 0 | 2790.0288 | 0 | 0 | 2790.0288 | 0 | 0 | 2790.0288
Door | Doors | 2.1 | m2 | Doors [u-Value=1 W/m².K] | Doors [u-Value=1 W/m².K] | Doors [u-Value=1 W/m².K] | Doors [u-Value=1 W/m².K] | Doors [u-Value=1 W/m².K] | Doors [u-Value=1 W/m².K] |  | 408.48 | 408.48 | 408.48 | 408.48 | 408.48 | 408.48 | 857.808 | 857.808 | 857.808 | 857.808 | 857.808 | 857.808 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Rooflights | 0 | m2 | [25 empty] | 0 | 0 | 0 | 0 | 0 | 0
Thermalbridging | Themal bridging | 1 | Nr | Standard | Standard | Enhanced (detached) [y value improved by=c.0.06W/m3 K] | Enhanced (detached) [y value improved by=c.0.03W/m3 K] | Enhanced (detached) [y value improved by=c.0.03W/m3 K] | Enhanced (detached) [y value improved by=c.0.06W/m3 K] |  | 0 | 0 | 627.072 | 313.536 | 313.536 | 627.072 | 0 | 0 | 627.072 | 313.536 | 313.536 | 627.072 | 0 | 0 | 627.072 | 313.536 | 313.536 | 627.072 | 0 | 0 | 627.072 | 313.536 | 313.536 | 627.072
Ventilation | Ventilation unit | 1 | Nr | Intermittent extract fans with trickle vents [Detached=4 Fans per home] | Intermittent extract fans with trickle vents [Detached=4 Fans per home] | Good Qual MVHR [Unit=1Per home] | Intermittent extract fans with trickle vents [Detached=4 Fans per home] | Intermittent extract fans with trickle vents [Detached=4 Fans per home] | Good Qual MVHR [Unit=1Per home] |  | 1324.8 | 1324.8 | 1360.128 | 1324.8 | 1324.8 | 1360.128 | 1324.8 | 1324.8 | 1360.128 | 1324.8 | 1324.8 | 1360.128 | 0 | 0 | 35.328 | 0 | 0 | 35.328 | 0 | 0 | 35.328 | 0 | 0 | 35.328
Ventduct | Ventilation duct | 142 | m2 | none | none | MVHR rigid ductwork - detached | none | none | MVHR rigid ductwork - detached |  | 0 | 0 | 16.56 | 0 | 0 | 16.56 | 0 | 0 | 2351.52 | 0 | 0 | 2351.52 | 0 | 0 | 2351.52 | 0 | 0 | 2351.52 | 0 | 0 | 2351.52 | 0 | 0 | 2351.52
Airtightness | Airtightness | 142 | m2 | Airtightness level 1 [Air permeability rate=5m³/h·m² at 50 Pa ] | Airtightness level 2a - Houses [Air permeability rate=4m³/h·m² at 50 Pa ] | Airtightness level 3 - Houses [Air permeability rate=1m³/h·m² at 50 Pa ] | Airtightness level 2 [Air permeability rate=3m³/h·m² at 50 Pa ] | Airtightness level 2 [Air permeability rate=3m³/h·m² at 50 Pa ] | Airtightness level 3 - Houses [Air permeability rate=1m³/h·m² at 50 Pa ] |  | 0 | 0.5485 | 10.5894 | 0 | 0 | 10.5894 | 0 | 77.8874 | 1503.7 | 0 | 0 | 1503.7 | 0 | 77.8874 | 1503.7 | 0 | 0 | 1503.7 | -77.8874 | 0 | 1425.8126 | -77.8874 | -77.8874 | 1425.8126
| EE Lighting |  | Nr | [7 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV | Photovoltaic array fixed | 1 | Nr | Roof mounted PV - fixed [Installations =1Number] | Roof mounted PV - fixed [Installations =1Number] | Roof mounted PV - fixed [Installations =1Number] | Roof mounted PV - fixed [Installations =1Number] | Roof mounted PV - fixed [Installations =1Number] | Roof mounted PV - fixed [Installations =1Number] |  | 1329.5373 | 1329.5373 | 1329.5373 | 1329.5373 | 1329.5373 | 1329.5373 | 1329.5373 | 1329.5373 | 1329.5373 | 1329.5373 | 1329.5373 | 1329.5373 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV | Photovoltaic array variable Part L 2021 | 4.84 | kWp | Roof mounted PV - variable [Output=1kWp] | [6 empty] | 716.7761 | 0 | 0 | 0 | 0 | 0 | 3469.1964 | 0 | 0 | 0 | 0 | 0 | 0 | -3469.1964 | -3469.1964 | -3469.1964 | -3469.1964 | -3469.1964 | 3469.1964 | 0 | 0 | 0 | 0 | 0
PV | Photovoltaic array variable FHS Part L 2026 | 6.3 | kWp |  | Roof mounted PV - variable [Output=1kWp] | [5 empty] | 0 | 716.7761 | 0 | 0 | 0 | 0 | 0 | 4515.6896 | 0 | 0 | 0 | 0 | 0 | 4515.6896 | 0 | 0 | 0 | 0 | -4515.6896 | 0 | -4515.6896 | -4515.6896 | -4515.6896 | -4515.6896
PV | Photovoltaic array variable Level 1b (SHD 15-20) | 6.3 | kWp |  |  | Roof mounted PV - variable [Output=1kWp] |  |  |  |  | 0 | 0 | 716.7761 | 0 | 0 | 0 | 0 | 0 | 4515.6896 | 0 | 0 | 0 | 0 | 0 | 4515.6896 | 0 | 0 | 0 | 0 | 0 | 4515.6896 | 0 | 0 | 0
PV | Photovoltaic array variable 100% TER + 10% TFEE | 4.7 | kWp |  |  |  | Roof mounted PV - variable [Output=1kWp] |  |  |  | 0 | 0 | 0 | 716.7761 | 0 | 0 | 0 | 0 | 0 | 3368.8478 | 0 | 0 | 0 | 0 | 0 | 3368.8478 | 0 | 0 | 0 | 0 | 0 | 3368.8478 | 0 | 0
PV | Photovoltaic array variable 100% TER + 10% TFEE + Unregulated | 6.9 | kWp |  |  |  |  | Roof mounted PV - variable [Output=1kWp] |  |  | 0 | 0 | 0 | 0 | 716.7761 | 0 | 0 | 0 | 0 | 0 | 4945.7552 | 0 | 0 | 0 | 0 | 0 | 4945.7552 | 0 | 0 | 0 | 0 | 0 | 4945.7552 | 0
PV | Photovoltaic array variable Level 2 (SHD 20/ EUI 35) | 6.7 | kWp | [5 empty] | Roof mounted PV - variable [Output=1kWp] |  | 0 | 0 | 0 | 0 | 0 | 716.7761 | 0 | 0 | 0 | 0 | 0 | 4802.4 | 0 | 0 | 0 | 0 | 0 | 4802.4 | 0 | 0 | 0 | 0 | 0 | 4802.4
PV | Battery Storage |  | Nr | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total | [15 empty] | 104692.1424 | 105816.5229 | 114196.1274 | 154345.0407 | 109649.9481 | 119957.2207
| Uplift | [15 empty] | 0 | 1124.3805 | 9503.985 | 49652.8983 | 4957.8058 | 15265.0783 | 0 | 1124.3805 | 9503.985 | 3380.8983 | 4957.8058 | 15265.0783 | -1124.3805 | 0 | 8379.6045 | 48528.5178 | 3833.4252 | 14140.6978
HEATING SYSTEM TYPE
| Element | Quantity |  | Specification | [6 empty] | Cost per unit | [5 empty] | Cost per building | [5 empty] | Cost Δ per building vs BAU 2021 | [7 empty] | Cost Δ per building vs FHS
|  | Quantity | Unit | Gas boiler | FHS Part L 2026 | Level 1b (SHD 15-20) | 100% TER + 10% TFEE | 100% TER + 10% TFEE + Unregulated | Level 2 (SHD 20/ EUI 35) |  | Gas boiler | FHS Part L 2026 | Level 1b (SHD 15-20) | 100% TER + 10% TFEE | 100% TER + 10% TFEE + Unregulated | Level 2 (SHD 20/ EUI 35) | Gas boiler | FHS Part L 2026 | Level 1b (SHD 15-20) | 100% TER + 10% TFEE | 100% TER + 10% TFEE + Unregulated | Level 2 (SHD 20/ EUI 35) | Gas boiler | FHS Part L 2026 | Level 1b (SHD 15-20) | 100% TER + 10% TFEE | 100% TER + 10% TFEE + Unregulated | Level 2 (SHD 20/ EUI 35) | Gas boiler | FHS Part L 2026 | Level 1b (SHD 15-20) | 100% TER + 10% TFEE | 100% TER + 10% TFEE + Unregulated | Level 2 (SHD 20/ EUI 35)
Heatingsource | Heating source | 1 | Nr | Condensing gas boiler - system [kW output=18kW] | Air Source Heat Pump - higher eff (incl cylinder) [kW output=7kW] | Air Source Heat Pump - higher eff (incl cylinder) [kW output=5kW] | Air Source Heat Pump - higher eff (incl cylinder) [kW output=5kW] | Air Source Heat Pump - higher eff (incl cylinder) [kW output=5kW] | Air Source Heat Pump - higher eff (incl cylinder) [kW output=5kW] |  | 1656 | 7463.04 | 7021.44 | 7021.44 | 7021.44 | 7021.44 | 1656 | 7463.04 | 7021.44 | 7021.44 | 7021.44 | 7021.44 | 0 | 5807.04 | 5365.44 | 5365.44 | 5365.44 | 5365.44 | -5807.04 | 0 | -441.6 | -441.6 | -441.6 | -441.6
Heatdistribution | Heating distribution system | 142 | m2 | Low temperature radiators [Per =1m2 GIFA] | Low temperature radiators [Per =1m2 GIFA] | Low temperature radiators [Per =1m2 GIFA] | Low temperature radiators [Per =1m2 GIFA] | Low temperature radiators [Per =1m2 GIFA] | Low temperature radiators [Per =1m2 GIFA] |  | 33.12 | 33.12 | 33.12 | 33.12 | 33.12 | 33.12 | 4703.04 | 4703.04 | 4703.04 | 4703.04 | 4703.04 | 4703.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hwstore | Hotwater system | 0 | Nr | none | none | none | none | none | none |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WWHR | WWHR ground floor (tray) | 1 | Nr | WWHR - pipe system [Showersave=QB1-21C] | None | None | None | None | None |  | 494.592 | 0 | 0 | 0 | 0 | 0 | 494.592 | 0 | 0 | 0 | 0 | 0 | 0 | -494.592 | -494.592 | -494.592 | -494.592 | -494.592 | 494.592 | 0 | 0 | 0 | 0 | 0
WWHR | WWHR upper floor (pipe) |  | Nr | None | None | None | None | None | None |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GasSupply | Gas supply |  | Nr | None | None | None | None | None | None |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PowerSupply | Power supply | 1 | Nr | None | Enhanced electrical supply - ASHP [kVa uplift=kVa] | Enhanced electrical supply - ASHP [kVa uplift=kVa] | Enhanced electrical supply - ASHP [kVa uplift=kVa] | Enhanced electrical supply - ASHP [kVa uplift=kVa] | Enhanced electrical supply - ASHP [kVa uplift=kVa] |  | 0 | 105.1008 | 105.1008 | 105.1008 | 105.1008 | 105.1008 | 0 | 105.1008 | 105.1008 | 105.1008 | 105.1008 | 105.1008 | 0 | 105.1008 | 105.1008 | 105.1008 | 105.1008 | 105.1008 | -105.1008 | 0 | 0 | 0 | 0 | 0
| Total | [15 empty] | 6853.632 | 12271.1808 | 11829.5808 | 11829.5808 | 11829.5808 | 11829.5808 | 0 | 5417.5488 | 4975.9488 | 4975.9488 | 4975.9488 | 4975.9488
| Uplift | [16 empty] | 5417.5488 | 4975.9488 | 4975.9488 | 4975.9488 | 4975.9488 | 0 | 5417.5488 | 4975.9488 | 4975.9488 | 4975.9488 | 4975.9488 | -5417.5488 | 0 | -441.6 | -441.6 | -441.6 | -441.6
Raw cost
[10 empty] | Part L 2021 | FHS Part L 2026 | LP24
[10 empty] | 104692.1424 | 105816.5229 | 114196.1274
|  |  |  | Gas boiler | 6853.632 |  |  |  |  | 111545.7744 | 112670.1549 | 121049.7594
|  |  |  | FHS Part L 2026 | 12271.1808 |  |  |  |  | 116963.3232 | 118087.7037 | 126467.3082
|  |  |  | Level 1b (SHD 15-20) | 11829.5808 |  |  |  |  | 116521.7232 | 117646.1037 | 126025.7082
London uplift to base costs
|  |  |  | South Glos uplift - | #REF!
[10 empty] | Part L 2021 | FHS Part L 2026 | LP24
[10 empty] | #REF! | #REF! | #REF!
|  |  |  | Gas boiler | #REF! |  |  |  |  | #REF! | #REF! | #REF!
|  |  |  | FHS Part L 2026 | #REF! |  |  |  |  | #REF! | #REF! | #REF!
|  |  |  | Level 1b (SHD 15-20) | #REF! |  |  |  |  | #REF! | #REF! | #REF!
Add OHP, prelims, contingency
Prelims
OHP
contingency
[10 empty] | Part L 2021 | FHS Part L 2026 | LP24
[10 empty] | #REF! | #REF! | #REF!
|  |  |  | Gas boiler | #REF! |  |  |  |  | #REF! | #REF! | #REF!
|  |  |  | FHS Part L 2026 | #REF! |  |  |  |  | #REF! | #REF! | #REF!
|  |  |  | Level 1b (SHD 15-20) | #REF! |  |  |  |  | #REF! | #REF! | #REF!
Cost variance per project
[10 empty] | Part L 2021 | FHS Part L 2026 | LP24
|  |  |  | Gas boiler | [5 empty] | #REF! | #REF! | #REF!
|  |  |  | FHS Part L 2026 | [5 empty] | #REF! | #REF! | #REF!
|  |  |  | Level 1b (SHD 15-20) | [5 empty] | #REF! | #REF! | #REF!
Cost variance per building / home
[10 empty] | Part L 2021 | FHS Part L 2026 | LP24
|  |  |  | Gas boiler | [5 empty] | #REF! | #REF! | #REF!
|  |  |  | FHS Part L 2026 | [5 empty] | #REF! | #REF! | #REF!
|  |  |  | Level 1b (SHD 15-20) | [5 empty] | #REF! | #REF! | #REF!
Cost variance per m²
[10 empty] | 0 | 0 | 0
|  |  |  | Gas boiler | [5 empty] | #REF! | #REF! | #REF!
|  |  |  | FHS Part L 2026 | [5 empty] | #REF! | #REF! | #REF!
|  |  |  | Level 1b (SHD 15-20) | [5 empty] | #REF! | #REF! | #REF!
| Floor | 313.536 | #REF!
| ExternalWall | 2619.0229 | #REF!
| Roof | 235.152 | #REF!
| Window | 0 | #REF!
| Door | 0 | #REF!
| Thermalbridging | 313.536 | #REF!
| Ventilation | 0 | #REF!
| Airtightness | 0 | #REF!
| PV | -3469.1964 | #REF!
| Heatingsource | 5365.44 | #REF!
| Heatdistribution | 0 | #REF!
| Emitters | 0 | #REF!
| WWHR | -494.592 | #REF!
| GasSupply | 0 | #REF!
| PowerSupply | 105.1008 | #REF!
|  | 4987.9993 | #REF!

## Semi
Semi-detached house
| Units | 1
FABRIC, VENTILATION AND PV
| Element | Quantity |  | Specification | [6 empty] | Cost per unit | [5 empty] | Cost per building | [5 empty] | Cost Δ per building | [7 empty] | Cost Δ per building vs BAU 2025
|  | Quantity | Unit | BAU 2021 | FHS Part L 2026 | Level 1b (SHD 15-20) | 100% TER + 10% TFEE | 100% TER + 10% TFEE + Unregulated | Level 2 (SHD 20/ EUI 35) |  | BAU 2021 | FHS Part L 2026 | Level 1b (SHD 15-20) | 100% TER + 10% TFEE | 100% TER + 10% TFEE + Unregulated | Level 2 (SHD 20/ EUI 35) | BAU 2021 | FHS Part L 2026 | Level 1b (SHD 15-20) | 100% TER + 10% TFEE | 100% TER + 10% TFEE + Unregulated | Level 2 (SHD 20/ EUI 35) | BAU 2021 | FHS Part L 2026 | Level 1b (SHD 15-20) | 100% TER + 10% TFEE | 100% TER + 10% TFEE + Unregulated | Level 2 (SHD 20/ EUI 35) | BAU 2021 | FHS Part L 2026 | Level 1b (SHD 15-20) | 100% TER + 10% TFEE | 100% TER + 10% TFEE + Unregulated | Level 2 (SHD 20/ EUI 35)
Floor | Floor | 46.5 | m2 | Grd Floor [u-Value=0.13 W/m².K] | Grd Floor [u-Value=0.13 W/m².K] | Grd Floor [u-Value=0.13 W/m².K] | Grd Floor [u-Value=0.12 W/m².K] | Grd Floor [u-Value=0.12 W/m².K] | Grd Floor [u-Value=0.09 W/m².K] |  | 188.784 | 188.784 | 188.784 | 193.2 | 193.2 | 223.107 | 8778.456 | 8778.456 | 8778.456 | 8983.8 | 8983.8 | 10374.4739 | 0 | 0 | 0 | 205.344 | 205.344 | 1596.0179 | 0 | 0 | 0 | 205.344 | 205.344 | 1596.0179
ExternalWall | ExternalWall | 111 | m2 | Ex Wall - Trad+MW [u-Value=0.18 W/m².K] | Ex Wall - Trad+MW [u-Value=0.18 W/m².K] | Ex Wall - Trad+MW [u-Value=0.18 W/m².K] | Ex Wall - Trad+MW [u-Value=0.12 W/m².K] | Ex Wall - Trad+MW [u-Value=0.12 W/m².K] | Ex Wall - Trad+MW [u-Value=0.15 W/m².K] |  | 272.5997 | 272.5997 | 272.5997 | 285.8271 | 285.8271 | 279.2767 | 30258.5645 | 30258.5645 | 30258.5645 | 31726.8046 | 31726.8046 | 30999.7106 | 0 | 0 | 0 | 1468.2401 | 1468.2401 | 741.1461 | 0 | 0 | 0 | 1468.2401 | 1468.2401 | 741.1461
ExternalWall | Dormer wall |  | m2 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ExternalWall | Bay wall | 0 | m2 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 46272 | 0 | 0 | 0 | 0 | 0 | 46272 | 0 | 0 | 0 | 0 | 0 | 46272 | 0 | 0
ExternalWall | Party Wall | 51 | m2 | Party Wall (generic) | Party Wall (generic) | Party Wall (generic) |  |  | Party Wall (generic) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Roof | Roof | 46.5 | m2 | Roof - Ins at Joists [u-Value=0.11 W/m².K] | Roof - Ins at Joists [u-Value=0.11 W/m².K] | Roof - Ins at Joists [u-Value=0.11 W/m².K] | Roof - Ins at Joists [u-Value=0.1 W/m².K] | Roof - Ins at Joists [u-Value=0.1 W/m².K] | Roof - Ins at Joists [u-Value=0.1 W/m².K] |  | 230.736 | 230.736 | 230.736 | 234.048 | 234.048 | 234.048 | 10729.224 | 10729.224 | 10729.224 | 10883.232 | 10883.232 | 10883.232 | 0 | 0 | 0 | 154.008 | 154.008 | 154.008 | 0 | 0 | 0 | 154.008 | 154.008 | 154.008
Roof | Sloping roof | 0 | m2 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Dormer roof | 0 | m2 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Window | Window | 17.7 | m2 | Windows [u-Value=1.2 W/m².K] | Windows [u-Value=1.2 W/m².K] | Windows [u-Value=0.8 W/m².K] | Windows [u-Value=1.2 W/m².K] | Windows [u-Value=1.2 W/m².K] | Windows [u-Value=0.8 W/m².K] |  | 430.56 | 430.56 | 516.672 | 430.56 | 430.56 | 516.672 | 7620.912 | 7620.912 | 9145.0944 | 7620.912 | 7620.912 | 9145.0944 | 0 | 0 | 1524.1824 | 0 | 0 | 1524.1824 | 0 | 0 | 1524.1824 | 0 | 0 | 1524.1824
Door | Doors | 2.1 | m2 | Doors [u-Value=1 W/m².K] | Doors [u-Value=1 W/m².K] | Doors [u-Value=1 W/m².K] | Doors [u-Value=1 W/m².K] | Doors [u-Value=1 W/m².K] | Doors [u-Value=1 W/m².K] |  | 408.48 | 408.48 | 408.48 | 408.48 | 408.48 | 408.48 | 857.808 | 857.808 | 857.808 | 857.808 | 857.808 | 857.808 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Rooflights |  | m2 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Thermalbridging | Themal bridging | 1 | Nr | Standard | Standard | Enhanced (semi) [y value improved by=c.0.06W/m3 K] | Enhanced (semi) [y value improved by=c.0.03W/m3 K] | Enhanced (semi) [y value improved by=c.0.03W/m3 K] | Enhanced (semi) [y value improved by=c.0.06W/m3 K] |  | 0 | 0 | 410.688 | 205.344 | 205.344 | 410.688 | 0 | 0 | 410.688 | 205.344 | 205.344 | 410.688 | 0 | 0 | 410.688 | 205.344 | 205.344 | 410.688 | 0 | 0 | 410.688 | 205.344 | 205.344 | 410.688
Ventilation | Ventilation unit | 1 | Nr | Intermittent extract fans with trickle vents [Semi / terrace=4 Fans per home] | Intermittent extract fans with trickle vents [Semi / terrace=4 Fans per home] | Good Qual MVHR [Unit=1Per home] | Intermittent extract fans with trickle vents [Semi / terrace=4 Fans per home] | Intermittent extract fans with trickle vents [Semi / terrace=4 Fans per home] | Good Qual MVHR [Unit=1Per home] |  | 1324.8 | 1324.8 | 1360.128 | 1324.8 | 1324.8 | 1360.128 | 1324.8 | 1324.8 | 1360.128 | 1324.8 | 1324.8 | 1360.128 | 0 | 0 | 35.328 | 0 | 0 | 35.328 | 0 | 0 | 35.328 | 0 | 0 | 35.328
Ventduct | Ventilation duct | 93 | m2 | none | none | MVHR rigid ductwork - semi + mid | none | none | MVHR rigid ductwork - semi + mid |  | 0 | 0 | 20.976 | 0 | 0 | 20.976 | 0 | 0 | 1950.768 | 0 | 0 | 1950.768 | 0 | 0 | 1950.768 | 0 | 0 | 1950.768 | 0 | 0 | 1950.768 | 0 | 0 | 1950.768
Airtightness | Airtightness | 93 | m2 | Airtightness level 1 [Air permeability rate=5m³/h·m² at 50 Pa ] | Airtightness level 2a - Houses [Air permeability rate=4m³/h·m² at 50 Pa ] | Airtightness level 3 - Houses [Air permeability rate=1m³/h·m² at 50 Pa ] | Airtightness level 2 [Air permeability rate=3m³/h·m² at 50 Pa ] | Airtightness level 2 [Air permeability rate=3m³/h·m² at 50 Pa ] | Airtightness level 3 - Houses [Air permeability rate=1m³/h·m² at 50 Pa ] |  | 0 | 0.5485 | 10.5894 | 0 | 0 | 10.5894 | 0 | 51.0108 | 984.8176 | 0 | 0 | 984.8176 | 0 | 51.0108 | 984.8176 | 0 | 0 | 984.8176 | -51.0108 | 0 | 933.8068 | -51.0108 | -51.0108 | 933.8068
| EE Lighting |  | Nr | [7 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV | Photovoltaic array fixed | 1 | Nr | Roof mounted PV - fixed [Installations =1Number] | Roof mounted PV - fixed [Installations =1Number] | Roof mounted PV - fixed [Installations =1Number] | Roof mounted PV - fixed [Installations =1Number] | Roof mounted PV - fixed [Installations =1Number] | Roof mounted PV - fixed [Installations =1Number] |  | 1329.5373 | 1329.5373 | 1329.5373 | 1329.5373 | 1329.5373 | 1329.5373 | 1329.5373 | 1329.5373 | 1329.5373 | 1329.5373 | 1329.5373 | 1329.5373 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV | Photovoltaic array variable Part L 2021 | 3 | kWp | Roof mounted PV - variable [Output=1kWp] | [6 empty] | 716.7761 | 0 | 0 | 0 | 0 | 0 | 2150.3284 | 0 | 0 | 0 | 0 | 0 | 0 | -2150.3284 | -2150.3284 | -2150.3284 | -2150.3284 | -2150.3284 | 2150.3284 | 0 | 0 | 0 | 0 | 0
PV | Photovoltaic array variable FHS Part L 2026 | 4 | kWp |  | Roof mounted PV - variable [Output=1kWp] | [5 empty] | 0 | 716.7761 | 0 | 0 | 0 | 0 | 0 | 2867.1045 | 0 | 0 | 0 | 0 | 0 | 2867.1045 | 0 | 0 | 0 | 0 | -2867.1045 | 0 | -2867.1045 | -2867.1045 | -2867.1045 | -2867.1045
PV | Photovoltaic array variable Level 1b (SHD 15-20) | 4 | kWp |  |  | Roof mounted PV - variable [Output=1kWp] |  |  |  |  | 0 | 0 | 716.7761 | 0 | 0 | 0 | 0 | 0 | 2867.1045 | 0 | 0 | 0 | 0 | 0 | 2867.1045 | 0 | 0 | 0 | 0 | 0 | 2867.1045 | 0 | 0 | 0
PV | Photovoltaic array variable 100% TER + 10% TFEE | 4.5 | kWp |  |  |  | Roof mounted PV - variable [Output=1kWp] |  |  |  | 0 | 0 | 0 | 716.7761 | 0 | 0 | 0 | 0 | 0 | 3225.4925 | 0 | 0 | 0 | 0 | 0 | 3225.4925 | 0 | 0 | 0 | 0 | 0 | 3225.4925 | 0 | 0
PV | Photovoltaic array variable 100% TER + 10% TFEE + Unregulated | 6.7 | kWp |  |  |  |  | Roof mounted PV - variable [Output=1kWp] |  |  | 0 | 0 | 0 | 0 | 716.7761 | 0 | 0 | 0 | 0 | 0 | 4802.4 | 0 | 0 | 0 | 0 | 0 | 4802.4 | 0 | 0 | 0 | 0 | 0 | 4802.4 | 0
PV | Photovoltaic array variable Level 2 (SHD 20/ EUI 35) | 4.2 | kWp | [5 empty] | Roof mounted PV - variable [Output=1kWp] |  | 0 | 0 | 0 | 0 | 0 | 716.7761 | 0 | 0 | 0 | 0 | 0 | 3010.4597 | 0 | 0 | 0 | 0 | 0 | 3010.4597 | 0 | 0 | 0 | 0 | 0 | 3010.4597
PV | Battery Storage | 0 | Nr | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total | [15 empty] | 63049.6302 | 63817.417 | 68672.1902 | 112429.7305 | 67734.6379 | 71306.7175
| Uplift | [15 empty] | 0 | 767.7869 | 5622.5601 | 49380.1003 | 4685.0078 | 8257.0874 | 0 | 767.7869 | 5622.5601 | 49380.1003 | 4685.0078 | 8257.0874 | -767.7869 | 0 | 4854.7732 | 48612.3134 | 3917.2209 | 7489.3005
0
HEATING SYSTEM TYPE
| Element | Quantity |  | Specification | [6 empty] | Cost per unit | [5 empty] | Cost per building | [5 empty] | Cost Δ per building | [7 empty] | Cost Δ per building vs BAU 2025
|  | Quantity | Unit | BAU 2021 | FHS Part L 2026 | Level 1b (SHD 15-20) | 100% TER + 10% TFEE | 100% TER + 10% TFEE + Unregulated | Level 2 (SHD 20/ EUI 35) |  | BAU 2021 | FHS Part L 2026 | Level 1b (SHD 15-20) | 100% TER + 10% TFEE | 100% TER + 10% TFEE + Unregulated | Level 2 (SHD 20/ EUI 35) | BAU 2021 | FHS Part L 2026 | Level 1b (SHD 15-20) | 100% TER + 10% TFEE | 100% TER + 10% TFEE + Unregulated | Level 2 (SHD 20/ EUI 35) | BAU 2021 | FHS Part L 2026 | Level 1b (SHD 15-20) | 100% TER + 10% TFEE | 100% TER + 10% TFEE + Unregulated | Level 2 (SHD 20/ EUI 35) | BAU 2021 | FHS Part L 2026 | Level 1b (SHD 15-20) | 100% TER + 10% TFEE | 100% TER + 10% TFEE + Unregulated | Level 2 (SHD 20/ EUI 35)
Heatingsource | Heating source | 1 | Nr | Condensing gas boiler - combi [kW output=24kW] | Air Source Heat Pump - higher eff (incl cylinder) [kW output=5kW] | Air Source Heat Pump - higher eff (incl cylinder) [kW output=5kW] | Air Source Heat Pump - higher eff (incl cylinder) [kW output=5kW] | Air Source Heat Pump - higher eff (incl cylinder) [kW output=5kW] | Air Source Heat Pump - higher eff (incl cylinder) [kW output=5kW] |  | 1656 | 7021.44 | 7021.44 | 7021.44 | 7021.44 | 7021.44 | 1656 | 7021.44 | 7021.44 | 7021.44 | 7021.44 | 7021.44 | 0 | 5365.44 | 5365.44 | 5365.44 | 5365.44 | 5365.44 | -5365.44 | 0 | 0 | 0 | 0 | 0
Heatdistribution | Heating distribution system | 93 | m2 | Low temperature radiators [Per =1m2 GIFA] | Low temperature radiators [Per =1m2 GIFA] | Low temperature radiators [Per =1m2 GIFA] | Low temperature radiators [Per =1m2 GIFA] | Low temperature radiators [Per =1m2 GIFA] | Low temperature radiators [Per =1m2 GIFA] |  | 33.12 | 33.12 | 33.12 | 33.12 | 33.12 | 33.12 | 3080.16 | 3080.16 | 3080.16 | 3080.16 | 3080.16 | 3080.16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hwstore | Hotwater system | 0 | Nr | none | none | none | none | none | none |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WWHR | WWHR ground floor (tray) | 1 | Nr | WWHR - pipe system [Showersave=QB1-21C] | None | None | None | None | None |  | 494.592 | 0 | 0 | 0 | 0 | 0 | 494.592 | 0 | 0 | 0 | 0 | 0 | 0 | -494.592 | -494.592 | -494.592 | -494.592 | -494.592 | 494.592 | 0 | 0 | 0 | 0 | 0
WWHR | WWHR upper floor (pipe) |  | Nr | None | None | None | None | None | None |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GasSupply | Gas supply |  | Nr | None | None | None | None | None | None |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PowerSupply | Power supply | 1 | Nr | None | Enhanced electrical supply - ASHP [kVa uplift=kVa] | Enhanced electrical supply - ASHP [kVa uplift=kVa] | Enhanced electrical supply - ASHP [kVa uplift=kVa] | Enhanced electrical supply - ASHP [kVa uplift=kVa] | Enhanced electrical supply - ASHP [kVa uplift=kVa] |  | 0 | 105.1008 | 105.1008 | 105.1008 | 105.1008 | 105.1008 | 0 | 105.1008 | 105.1008 | 105.1008 | 105.1008 | 105.1008 | 0 | 105.1008 | 105.1008 | 105.1008 | 105.1008 | 105.1008 | -105.1008 | 0 | 0 | 0 | 0 | 0
| Total | [15 empty] | 5230.752 | 10206.7008 | 10206.7008 | 10206.7008 | 10206.7008 | 10206.7008 | 0 | 4975.9488 | 4975.9488 | 4975.9488 | 4975.9488 | 4975.9488
| Uplift | [16 empty] | 4975.9488 | 4975.9488 | 4975.9488 | 4975.9488 | 4975.9488 | 0 | 4975.9488 | 4975.9488 | 4975.9488 | 4975.9488 | 4975.9488 | -4975.9488 | 0 | 0 | 0 | 0 | 0
0
Raw cost
[10 empty] | BAU 2021 | FHS Part L 2026 | LP24
[10 empty] | 63049.6302 | 63817.417 | 68672.1902
|  |  |  | BAU 2021 | 5230.752 |  |  |  |  | 68280.3822 | 69048.169 | 73902.9422
|  |  |  | FHS Part L 2026 | 10206.7008 |  |  |  |  | 73256.331 | 74024.1178 | 78878.891
|  |  |  | Level 1b (SHD 15-20) | 10206.7008 |  |  |  |  | 73256.331 | 74024.1178 | 78878.891
London uplift to base costs
|  |  |  | #REF! | #REF!
[10 empty] | BAU 2021 | FHS Part L 2026 | LP24
[10 empty] | #REF! | #REF! | #REF!
|  |  |  | BAU 2021 | #REF! |  |  |  |  | #REF! | #REF! | #REF!
|  |  |  | FHS Part L 2026 | #REF! |  |  |  |  | #REF! | #REF! | #REF!
|  |  |  | Level 1b (SHD 15-20) | #REF! |  |  |  |  | #REF! | #REF! | #REF!
Add OHP, prelims, contingency
Prelims
OHP
contingency
[10 empty] | BAU 2021 | FHS Part L 2026 | LP24
[10 empty] | #REF! | #REF! | #REF!
|  |  |  | BAU 2021 | #REF! |  |  |  |  | #REF! | #REF! | #REF!
|  |  |  | FHS Part L 2026 | #REF! |  |  |  |  | #REF! | #REF! | #REF!
|  | Notional | #REF! | Level 1b (SHD 15-20) | #REF! |  |  |  |  | #REF! | #REF! | #REF!
Cost variance per project
[10 empty] | BAU 2021 | FHS Part L 2026 | LP24
|  |  |  | BAU 2021 | [5 empty] | #REF! | #REF! | #REF!
|  |  |  | FHS Part L 2026 | [5 empty] | #REF! | #REF! | #REF!
|  |  |  | Level 1b (SHD 15-20) | [5 empty] | #REF! | #REF! | #REF!
Cost variance per building / home
[10 empty] | BAU 2021 | FHS Part L 2026 | LP24
|  |  |  | BAU 2021 | [5 empty] | #REF! | #REF! | #REF!
|  |  |  | FHS Part L 2026 | [5 empty] | #REF! | #REF! | #REF!
|  |  |  | Level 1b (SHD 15-20) | [5 empty] | #REF! | #REF! | #REF!

## Low rise
Low-rise block of flats
| Units | 7
FABRIC, VENTILATION AND PV
| Element | Quantity |  | Specification | [6 empty] | Cost per unit | [5 empty] | Cost per building | [5 empty] | Cost Δ per building | [7 empty] | Cost Δ per building vs BAU 2025
|  | Quantity | Unit | BAU 2021 | FHS Part L 2026 | Level 1b (SHD 15-20) | 100% TER + 10% TFEE | 100% TER + 10% TFEE + Unregulated | Level 2 (SHD 20/ EUI 35) |  | BAU 2021 | FHS Part L 2026 | Level 1b (SHD 15-20) | 100% TER + 10% TFEE | 100% TER + 10% TFEE + Unregulated | Level 2 (SHD 20/ EUI 35) | BAU 2021 | FHS Part L 2026 | Level 1b (SHD 15-20) | 100% TER + 10% TFEE | 100% TER + 10% TFEE + Unregulated | Level 2 (SHD 20/ EUI 35) | BAU 2021 | FHS Part L 2026 | Level 1b (SHD 15-20) | 100% TER + 10% TFEE | 100% TER + 10% TFEE + Unregulated | Level 2 (SHD 20/ EUI 35) | BAU 2021 | FHS Part L 2026 | Level 1b (SHD 15-20) | 100% TER + 10% TFEE | 100% TER + 10% TFEE + Unregulated | Level 2 (SHD 20/ EUI 35)
Floor | Floor | 162 | m2 | Grd Floor [u-Value=0.13 W/m².K] | Grd Floor [u-Value=0.17 W/m².K] | Grd Floor [u-Value=0.13 W/m².K] | Grd Floor [u-Value=0.12 W/m².K] | Grd Floor [u-Value=0.12 W/m².K] | Grd Floor [u-Value=0.08 W/m².K] |  | 188.784 | 180.504 | 188.784 | 193.2 | 193.2 | 235.152 | 30583.008 | 29241.648 | 30583.008 | 31298.4 | 31298.4 | 38094.624 | 0 | -1341.36 | 0 | 715.392 | 715.392 | 7511.616 | 1341.36 | 0 | 1341.36 | 2056.752 | 2056.752 | 8852.976
ExternalWall | External walls | 632 | m2 | Ex Wall - Trad+MW [u-Value=0.18 W/m².K] | Ex Wall - Trad+MW [u-Value=0.18 W/m².K] | Ex Wall - Trad+MW [u-Value=0.15 W/m².K] | Ex Wall - LMF+MW [u-Value=0.12 W/m².K] | Ex Wall - LMF+MW [u-Value=0.12 W/m².K] | Ex Wall - Trad+MW [u-Value=0.13 W/m².K] |  | 272.5997 | 272.5997 | 279.2767 | 597.7112 | 597.7112 | 283.728 | 172282.9978 | 172282.9978 | 176502.8567 | 377753.4964 | 377753.4964 | 179316.096 | 0 | 0 | 4219.8589 | 205470.4987 | 205470.4987 | 7033.0982 | 0 | 0 | 4219.8589 | 205470.4987 | 205470.4987 | 7033.0982
ExternalWall | Dormer wall | 0 | m2 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ExternalWall | Bay wall | 0 | m2 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 46272 | 0 | 0 | 0 | 0 | 0 | 46272 | 0 | 0 | 0 | 0 | 0 | 46272 | 0 | 0
ExternalWall | Party Wall | 0 | m2 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Roof | Roof | 246 | m2 | Roof - Ins at Pitch [u-Value=0.11 W/m².K] | Roof - Ins at Pitch [u-Value=0.11 W/m².K] | Roof - Ins at Pitch [u-Value=0.11 W/m².K] | Roof - Ins at Pitch [u-Value=0.1 W/m².K] | Roof - Ins at Pitch [u-Value=0.1 W/m².K] | Roof - Ins at Pitch [u-Value=0.09 W/m².K] |  | 289.248 | 289.248 | 289.248 | 293.664 | 293.664 | 298.08 | 71155.008 | 71155.008 | 71155.008 | 72241.344 | 72241.344 | 73327.68 | 0 | 0 | 0 | 1086.336 | 1086.336 | 2172.672 | 0 | 0 | 0 | 1086.336 | 1086.336 | 2172.672
Roof | Sloping roof | 0 | m2 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Roof | Dormer roof | 0 | m2 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Window | Window | 159 | m2 | Windows [u-Value=1.2 W/m².K] | Windows [u-Value=1.2 W/m².K] | Windows [u-Value=0.8 W/m².K] | Windows [u-Value=1.2 W/m².K] | Windows [u-Value=1.2 W/m².K] | Windows [u-Value=0.8 W/m².K] |  | 430.56 | 430.56 | 516.672 | 430.56 | 430.56 | 516.672 | 68459.04 | 68459.04 | 82150.848 | 68459.04 | 68459.04 | 82150.848 | 0 | 0 | 13691.808 | 0 | 0 | 13691.808 | 0 | 0 | 13691.808 | 0 | 0 | 13691.808
Door | Doors | 5.8 | m2 | Doors [u-Value=1 W/m².K] | Doors [u-Value=1 W/m².K] | Doors [u-Value=1 W/m².K] | Doors [u-Value=1 W/m².K] | Doors [u-Value=1 W/m².K] | Doors [u-Value=1 W/m².K] |  | 408.48 | 408.48 | 408.48 | 408.48 | 408.48 | 408.48 | 2369.184 | 2369.184 | 2369.184 | 2369.184 | 2369.184 | 2369.184 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Window | Rooflights | 3.2 | m2 | Windows [u-Value=1.2 W/m².K] | Windows [u-Value=1.2 W/m².K] | Windows [u-Value=0.8 W/m².K] |  |  |  |  | 430.56 | 430.56 | 516.672 | 0 | 0 | 0 | 1377.792 | 1377.792 | 1653.3504 | 0 | 0 | 0 | 0 | 0 | 275.5584 | -1377.792 | -1377.792 | -1377.792 | 0 | 0 | 275.5584 | -1377.792 | -1377.792 | -1377.792
Thermalbridging | Themal bridging | 7 | Nr | Standard | Standard | Enhanced (flats) [y value improved by=c.0.06W/m3 K] | Enhanced (flats) [y value improved by=c.0.03W/m3 K] | Enhanced (flats) [y value improved by=c.0.03W/m3 K] | Enhanced (flats) [y value improved by=c.0.06W/m3 K] |  | 0 | 0 | 409.4263 | 204.7131 | 204.7131 | 409.4263 | 0 | 0 | 2865.984 | 1432.992 | 1432.992 | 2865.984 | 0 | 0 | 2865.984 | 1432.992 | 1432.992 | 2865.984 | 0 | 0 | 2865.984 | 1432.992 | 1432.992 | 2865.984
Ventilation | Ventilation unit | 7 | Nr | Intermittent extract fans with trickle vents [Small Flat=2 Fans per home] | Intermittent extract fans with trickle vents [Small Flat=2 Fans per home] | Good Qual MVHR [Unit=1Per home] | Intermittent extract fans with trickle vents [Small Flat=2 Fans per home] | Intermittent extract fans with trickle vents [Small Flat=2 Fans per home] | Good Qual MVHR [Unit=1Per home] |  | 662.4 | 662.4 | 1360.128 | 662.4 | 662.4 | 1360.128 | 4636.8 | 4636.8 | 9520.896 | 4636.8 | 4636.8 | 9520.896 | 0 | 0 | 4884.096 | 0 | 0 | 4884.096 | 0 | 0 | 4884.096 | 0 | 0 | 4884.096
Ventduct | Ventilation duct | 649 | m2 | none | none | MVHR rigid ductwork - small flat | none | none | MVHR rigid ductwork - small flat |  | 0 | 0 | 24.288 | 0 | 0 | 24.288 | 0 | 0 | 15762.912 | 0 | 0 | 15762.912 | 0 | 0 | 15762.912 | 0 | 0 | 15762.912 | 0 | 0 | 15762.912 | 0 | 0 | 15762.912
Airtightness | Airtightness | 649 | m2 | Airtightness level 1 [Air permeability rate=5m³/h·m² at 50 Pa ] | Airtightness level 2a - Flats [Air permeability rate=4m³/h·m² at 50 Pa ] | Airtightness level 3 - Flats [Air permeability rate=1m³/h·m² at 50 Pa ] | Airtightness level 2 [Air permeability rate=3m³/h·m² at 50 Pa ] | Airtightness level 2 [Air permeability rate=3m³/h·m² at 50 Pa ] | Airtightness level 3 - Flats [Air permeability rate=1m³/h·m² at 50 Pa ] |  | 0 | 0.23981 | 4.8822 | 0 | 0 | 4.8822 | 0 | 155.6368 | 3168.5467 | 0 | 0 | 3168.5467 | 0 | 155.6368 | 3168.5467 | 0 | 0 | 3168.5467 | -155.6368 | 0 | 3012.9099 | -155.6368 | -155.6368 | 3012.9099
| EE Lighting |  | Nr | [7 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV | Photovoltaic array fixed | 1 | Nr | Roof mounted PV - fixed [Installations =1Number] | Roof mounted PV - fixed [Installations =1Number] | Roof mounted PV - fixed [Installations =1Number] | Roof mounted PV - fixed [Installations =1Number] | Roof mounted PV - fixed [Installations =1Number] | Roof mounted PV - fixed [Installations =1Number] |  | 1329.5373 | 1329.5373 | 1329.5373 | 1329.5373 | 1329.5373 | 1329.5373 | 1329.5373 | 1329.5373 | 1329.5373 | 1329.5373 | 1329.5373 | 1329.5373 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV | Photovoltaic array variable Part L 2021 | 7.6 | kWp | Roof mounted PV - variable [Output=1kWp] | [6 empty] | 716.7761 | 0 | 0 | 0 | 0 | 0 | 5447.4985 | 0 | 0 | 0 | 0 | 0 | 0 | -5447.4985 | -5447.4985 | -5447.4985 | -5447.4985 | -5447.4985 | 5447.4985 | 0 | 0 | 0 | 0 | 0
PV | Photovoltaic array variable FHS Part L 2026 | 11.7 | kWp |  | Roof mounted PV - variable [Output=1kWp] | [5 empty] | 0 | 716.7761 | 0 | 0 | 0 | 0 | 0 | 8386.2806 | 0 | 0 | 0 | 0 | 0 | 8386.2806 | 0 | 0 | 0 | 0 | -8386.2806 | 0 | -8386.2806 | -8386.2806 | -8386.2806 | -8386.2806
PV | Photovoltaic array variable Level 1b (SHD 15-20) | 18.7 | kWp |  |  | Roof mounted PV - variable [Output=1kWp] |  |  |  |  | 0 | 0 | 716.7761 | 0 | 0 | 0 | 0 | 0 | 13403.7134 | 0 | 0 | 0 | 0 | 0 | 13403.7134 | 0 | 0 | 0 | 0 | 0 | 13403.7134 | 0 | 0 | 0
PV | Photovoltaic array variable Level 2 (SHD 20/ EUI 35) | 10.925 | kWp | [5 empty] | Roof mounted PV - variable [Output=1kWp] |  | 0 | 0 | 0 | 0 | 0 | 716.7761 | 0 | 0 | 0 | 0 | 0 | 7830.7791 | 0 | 0 | 0 | 0 | 0 | 7830.7791 | 0 | 0 | 0 | 0 | 0 | 7830.7791
PV | Battery Storage | 0 | Nr | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total | [15 empty] | 357640.8656 | 359393.9245 | 410465.8445 | 605792.7937 | 559520.7937 | 407906.308
| Uplift | [15 empty] | 0 | 1753.0589 | 52824.9789 | 248151.9281 | 201879.9281 | 50265.4424 | 0 | 1753.0589 | 52824.9789 | 248151.9281 | 201879.9281 | 58096.2215 | -1753.0589 | 0 | 51071.9201 | 246398.8693 | 200126.8693 | 56343.1626
[18 empty] | 0 |  | #REF! | #REF! | 0
HEATING SYSTEM TYPE
| Element | Quantity |  | Specification | [6 empty] | Cost per unit | [5 empty] | Cost per building | [5 empty] | Cost Δ per building | [7 empty] | Cost Δ per building vs BAU 2025
|  | Quantity | Unit | Gas boiler | FHS Part L 2026 | Level 1b (SHD 15-20) | 100% TER + 10% TFEE | 100% TER + 10% TFEE + Unregulated | Level 2 (SHD 20/ EUI 35) |  | Gas boiler | FHS Part L 2026 | Level 1b (SHD 15-20) | 100% TER + 10% TFEE | 100% TER + 10% TFEE + Unregulated | Level 2 (SHD 20/ EUI 35) | Gas boiler | FHS Part L 2026 | Level 1b (SHD 15-20) | 100% TER + 10% TFEE | 100% TER + 10% TFEE + Unregulated | Level 2 (SHD 20/ EUI 35) | Gas boiler | FHS Part L 2026 | Level 1b (SHD 15-20) | 100% TER + 10% TFEE | 100% TER + 10% TFEE + Unregulated | Level 2 (SHD 20/ EUI 35) | Gas boiler | FHS Part L 2026 | Level 1b (SHD 15-20) | 100% TER + 10% TFEE | 100% TER + 10% TFEE + Unregulated | Level 2 (SHD 20/ EUI 35)
Heatingsource | Heating source | 7 | Nr | Condensing gas boiler - combi [kW output=24kW] | Air Source Heat Pump - higher eff (incl cylinder) [kW output=5kW] | Air Source Heat Pump - higher eff (incl cylinder) [kW output=5kW] | Air Source Heat Pump - higher eff (incl cylinder) [kW output=5kW] | Air Source Heat Pump - higher eff (incl cylinder) [kW output=5kW] | Air Source Heat Pump - higher eff (incl cylinder) [kW output=5kW] |  | 1656 | 7021.44 | 7021.44 | 7021.44 | 7021.44 | 7021.44 | 11592 | 49150.08 | 49150.08 | 49150.08 | 49150.08 | 49150.08 | 0 | 37558.08 | 37558.08 | 37558.08 | 37558.08 | 37558.08 | -37558.08 | 0 | 0 | 0 | 0 | 0
Heatdistribution | Heating distribution system | 649 | m2 | Low temperature radiators [Per =1m2 GIFA] | Low temperature radiators [Per =1m2 GIFA] | Low temperature radiators [Per =1m2 GIFA] | Low temperature radiators [Per =1m2 GIFA] | Low temperature radiators [Per =1m2 GIFA] | Low temperature radiators [Per =1m2 GIFA] |  | 33.12 | 33.12 | 33.12 | 33.12 | 33.12 | 33.12 | 21494.88 | 21494.88 | 21494.88 | 21494.88 | 21494.88 | 21494.88 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Heatdistribution | Heating distribution system -emitters |  | Nr | none | none | none | none | none | none |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Heatdistribution | Heating distribution system -emitters | 649 | m2 | none | none | none | none | none | none |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hwstore | Hotwater system |  | Nr | none | none | none | none | none | none |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WWHR | WWHR ground floor (tray) |  | Nr | None | None | None | None | None | None |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WWHR | WWHR upper floor (pipe) | 7 | Nr | WWHR - average for block of flats [Assumes =3/4 pipe and1/4 pumped units] | None | None | None | None | None |  | 741.888 | 0 | 0 | 0 | 0 | 0 | 5193.216 | 0 | 0 | 0 | 0 | 0 | 0 | -5193.216 | -5193.216 | -5193.216 | -5193.216 | -5193.216 | 5193.216 | 0 | 0 | 0 | 0 | 0
GasSupply | Gas supply |  | Nr | None | None | None | None | None | None |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PowerSupply | Power supply | 7 | Nr | None | Enhanced electrical supply - ASHP [kVa uplift=kVa] | Enhanced electrical supply - ASHP [kVa uplift=kVa] | Enhanced electrical supply - ASHP [kVa uplift=kVa] | Enhanced electrical supply - ASHP [kVa uplift=kVa] | Enhanced electrical supply - ASHP [kVa uplift=kVa] |  | 0 | 105.1008 | 105.1008 | 105.1008 | 105.1008 | 105.1008 | 0 | 735.7056 | 735.7056 | 735.7056 | 735.7056 | 735.7056 | 0 | 735.7056 | 735.7056 | 735.7056 | 735.7056 | 735.7056 | -735.7056 | 0 | 0 | 0 | 0 | 0
| Total | [15 empty] | 38280.096 | 71380.6656 | 71380.6656 | 71380.6656 | 71380.6656 | 71380.6656 | 0 | 33100.5696 | 33100.5696 | 33100.5696 | 33100.5696 | 33100.5696
| Uplift | [16 empty] | 33100.5696 | 33100.5696 | 33100.5696 | 33100.5696 | 33100.5696 | 0 | 33100.5696 | 33100.5696 | 33100.5696 | 33100.5696 | 33100.5696 | -33100.5696 | 0 | 0 | 0 | 0 | 0
Raw cost
[6 empty] | BAU 2021 | 0 | BAU 2021 |  | FHS Part L 2026 | LP24
[6 empty] | 357640.8656 | 0 | 357640.8656 |  | 359393.9245 | 410465.8445
|  |  |  | Gas boiler | 38280.096 | 395920.9616 | 38280.096 | 395920.9616 |  | 397674.0205 | 448745.9405
|  |  |  | FHS Part L 2026 | 71380.6656 | 429021.5312 |  | 429021.5312 |  | 430774.5901 | 481846.5101
|  |  |  | Level 1b (SHD 15-20) | 71380.6656 | 429021.5312 |  | 429021.5312 |  | 430774.5901 | 481846.5101
London uplift to base costs
|  |  |  | South Glos uplift - | #REF!
[6 empty] | BAU 2021 | 0 | BAU 2021 |  | FHS Part L 2026 | LP24
[6 empty] | #REF! | #REF! | #REF! |  | #REF! | #REF!
|  |  |  | Gas boiler | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF!
|  |  |  | FHS Part L 2026 | #REF! | #REF! |  | #REF! |  | #REF! | #REF!
|  |  |  | Level 1b (SHD 15-20) | #REF! | #REF! |  | #REF! |  | #REF! | #REF!
Add OHP, prelims, contingency
|  |  |  | Prelims | 17%
|  |  |  | OHP | 5%
|  |  |  | contingency | 5%
[6 empty] | BAU 2021 | 0 | BAU 2021 |  | FHS Part L 2026 | LP24
[6 empty] | #REF! | #REF! | #REF! |  | #REF! | #REF!
|  |  |  | Gas boiler | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF!
|  |  |  | FHS Part L 2026 | #REF! | #REF! |  | #REF! |  | #REF! | #REF!
|  |  |  | Level 1b (SHD 15-20) | #REF! | #REF! |  | #REF! |  | #REF! | #REF!
Cost variance per project
[6 empty] | BAU 2021 | 0 | BAU 2021 |  | FHS Part L 2026 | LP24
|  | Notional | #REF! | Gas boiler |  | #REF! | #REF! | #REF! |  | #REF! | #REF!
|  |  |  | FHS Part L 2026 |  | #REF! | #REF! | #REF! |  | #REF! | #REF!
|  |  |  | Level 1b (SHD 15-20) |  | #REF! |  | #REF! |  | #REF! | #REF!
Cost variance per building / home
[6 empty] | BAU 2021 | 0 | BAU 2021 |  | FHS Part L 2026 | LP24
|  |  |  | Gas boiler |  | #REF! | #REF! | #REF! |  | #REF! | #REF!
|  |  |  | FHS Part L 2026 |  | #REF! | #REF! | #REF! |  | #REF! | #REF!
|  |  |  | Level 1b (SHD 15-20) |  | #REF! | 0 | #REF! |  | #REF! | #REF!
3009.1427